ACC MODEL SERIES - AIR COOLED CHILLER (50Hz-R407C)

- SCROLL COMPRESSOR AND SHELL & TUBE

Standard Requirement Input:

- General Data Selection:

  - Power Supply	 	(V/Ph/Hz)	:400/3/50 or 415/3/50

  - Compressor 		(Type)		:Scroll

  - Refrigerant		(Type)		:R407C

  - Ambient		(  ̊F)		:95 or 105 or 115 or 118.4 or 125

  - Altitude		(Ft)		:Refer to Table (ACC Series Catalogue – Pg.12)

  - Fin Material		(Type)		:Aluminum Fin Stock (Pre-Coated-Blue)

  - Cooler Connection 	(Type)		:Standard Victaulic

  - Required Capacity 	(TR)		:020 to 100

  - Inlet Water Temp.	(  ̊F)		:___

  - Outlet Water Temp.	(  ̊F)		:___

  - Water Flow Rate	(GPM)		:___

  - Chiller Model				:ACC-

  - Qty.					:___

Optional Features

- Construction

  - Unit Mounting Spring Isolator

  - Copper Fins – Condenser Coil

  - Condenser Coil Protective Coating

- Refrigeration

  - Pressure Gauges

  - ASME Code Stamped (S&T Cooler)

- Electrical

  - Cooler Heater Tape

  - External Overload Relay for Condenser Fan Motor

  - Building Management System (BMS)

  - Compressor Circuit Breaker