FCL MODEL SERIES – FAN COIL (LOW STATIC)

- FAN COIL UNIT (WATER CHILLER)

Standard Requirement Input:

- General Data Selection:

  - Unit Reference Model	(Series)	:FCL

  - Required Capacity	(Btu/hr)	:____

  - Required Air flow	(CFM)		:____

  - Ext. Static Pressure	(In Wg)		:____

  - Power Supply	 	(V/Ph/Hz)	:220-240/1/50 or 208-230/1/60

  - Fan Speed		(Mode)	:Low, Medium, High

  - Connection Side	(Type)		:LH Facing Supply or RH Facing Supply

  - Altitude		(ft)		:____

  - Fluid			(Type)		:Water

  - Entering Air DB	(  ̊F)		:____

  - Entering Air WB	(  ̊F)		:____

  - Entering Water Temp.	(  ̊F)		:____

  - Leaving Water Temp.	(  ̊F)		:____

  - Water Flow Rate	(GPM)		:____

  - Quantity		(Unit)		:____

Optional Features

- Construction

  - Copper Fins – Chilled Water Coil

  - Threaded Water Connection ¾”

  - Drain Pan (G.I. Extended 300mm, Stainless Steel Extended 200mm or 300mm)

  - Air Filters (Nylon Filter or Washable Aluminum Filter)

  - Casing Finish (Painted Finishing)

- Electrical

  - Electric Heater

  - Thermostat

  - Control Valve Kit