PHEF-PHCF MODEL SERIES – PRECISION COOLING UNIT

Standard Requirement Input:

- General Data Selection:

  - Power Supply	 	(V/Ph/Hz)	: 415/3/50

  - Ambient		(  ̊F)		:118.4 (T4 Only)

  - Required Cooling Capacity (KW or BTU/hr)	:

  - Airflow (CFM)				: Airflow should automatically adjust based on the specified cooling capacity.

  - Entering Dry Bulb Temp.	(  ̊C)	: 24 (Cooling capacity based on T4 condition)

  - Entering Wet Bulb Temp.	(  ̊C)	: 19.4 (Cooling capacity based on T4 condition)

:___

Optional Features

- Construction

  - Copper Fins – Condenser Coil

  - Condenser Coil Protective Coating

- Refrigeration

  - The customer will provide the options.

- Electrical

  - The customer will provide the options.